# Health Sciences Center

# Safety Committee

# Meeting Notes

Thursday, March 23, 2017

1:30PM

Attended:

-Natalie Caravasos				-Frank Ali

-Ali Elliott					-Shayna Moddle

-Kim Bryner					-Patrick Callery

-Donna Haid

-Kevin Engels

-Angela Lemmon (Recording Secretary)

New Business:

Natalie Caravasos:  (Safety)

- Natalie introduced Shayna Moddle from the main office of Environmental Health and Safety.  She will be helping with lab safety.  She will be working in the HSC Safety Office two days a week.

Kim Bryner:  (Safety)

- Lab Audits:  Lab audits will be done primarily on Monday and Wednesdays.  Recently, the CHO’s received e mails regarding the lab audits.  Kim needs a list of all who needs reports of the audits:  CHO’s, Chairs, lab managers, anyone who may be responsible for correcting deficiencies in the lab.

- Working with LabCliq program and almost complete with the single sign-on feature.

- Send in forms by April 25, 2017 for DEA substances disposal on April 27, 2017.  This is for registrants only.  This disposal is one time per year.

- Chemical inventories are due on June 20, 2017.  Kim sent a new form to be used-very similar to last year’s form.  Must copy and paste information from old form into the new form.  The new form will highlight the P chemicals as well as the highly hazardous chemicals.  Make sure each room/lab inventory is placed on a separate sheet.  The instructions are on the inventory sheet.  The CHO’s are to collect all inventories from personnel in their department before sending them to her collectively, to ensure none were missed.

Natalie Caravasos:  (Safety)

- The refresher EPA/OSHA training is available on SOLE.  An e mail was recently sent out to everyone who is overdue on their training.  The refresher training is a one page document that takes just a few minutes to complete.  Once you complete the training you will receive an e mail, and one will be sent to Angela Lemmon.  Please make sure to remind all employees to take their training on SOLE.

- Emergency Response Plan.  Emergency scenarios went well.  The program is moving along.  There will be an evacuation of the building in the summer.  Someone will be in touch with the contact person in the office.  If someone in your office has special needs, please let the contact person know.

- Update on construction projects:

- Duct cleaning on the 4th floor is progressing well.

- 4th floor inhalation lab is going well.  Abatement is being done on the weekends.  Plastic is set up and air monitoring is being done.  Natalie receives results of the air monitoring.  If anyone has any issues, please let Natalie know.

- 2033 is going well.  New hood is in place that is ADA compliant.  Getting close to the completion date.

- Pat Callery stated that there is dust inside some of the offices in Pharmacy.  The dust is coming from the drop ceilings.  Natalie stated that she will check on the issue.  Will talk to Jamie in Facilities.

Alexandra Elliott: (EH&S)

- High containment facility:  The failure testing two weeks ago went well.  The back up worked as it should.

- Currently, finalizing biosafety contract.  Negotiating with company.

Frank Ali:  (OLAR)

- Update on autoclave:  Trying to control use of autoclave, however, has to be used at times. Running the autoclave at night.  The smells in the building happen when the door is opened.  Doesn’t believe duct work is working properly and that is why building has odor from autoclave.

- ACUC inspections in April.  The ACUC did inspect the high containment area.  Everything is OK.

Shayna Moddle:  (EH&S)

- Looking forward to working at Health Sciences Center 2-3 days per week.  Will be helping with lab safety.

Meeting concluded at 2:00PM.  The next meeting will be Thursday, April 27, 2017.

Old Business:

Natalie Caravasos:  (Safety)

- Glove Ban – The US Food and Drug Administration (FDA) has issued a final rule banning the use of powdered medical gloves which began on January 19, 2017. This ban applies to use in veterinary care also.

- Lab Audits are next week at BRNI.

- Shop audits are complete.

- New form for 180 day areas.  Since the HSC has been switched from a large quantity generator to a small quantity generator, the weekly check forms are slightly different now.

- The EPA/OSHA Hazardous Waste refresher course is now available on SOLE.  Please contact Angela Lemmon (alemmon@hsc.wvu.edu) with any questions.

- A new employee will still need to take the three EPA/OSHA hazardous waste training modules on SOLE, or attend the in-person class.  After that an employee can elect to take the one page refresher course on SOLE for their annual renewal.

- In person EPA/OSHA hazardous waste training was just given on February 9, 2017. Another in-person class will be scheduled in the Fall.

- Chemical inventories will be due soon.  A new Excel spreadsheet will be sent out with the reminder to the CHOs. Laboratory staff will need to copy their inventory information from last year onto the new form and make corrections as needed. The new form looks exactly like the old form but will now highlight in purple the high haz chemicals. P-chemicals will still be highlighted in red on the sheet.  If you have any questions, please contact our office.

- Update on Emergency Response Plan:  Everyone in the HSC will be contacted by someone on their floor.  There is an evacuation planned for the entire building.  Each floor will have a designated meeting area.  There will be head counts and accountability for every person in the office.  The first drill (tabletop) is scheduled for March 2, 2017.  The actual evacuation drill will be closer to summer when students are not here.  The designee for each floor will stop in the offices to see what needs each area may have.  Focus is on HSC North and South at this time.

- Update on projects currently going on in building:

- 5th floor – infrastructure – replacing HVAC.  Taking out old units and putting in new units.  This could be ongoing for a couple years.  First phase should be completed in the summer.

- Duct cleaning – personnel in the areas being cleaned will be notified in advance.  Make sure all equipment is covered.

- 4th floor inhalation lab – demo 4041.

- Abatement currently on going in the 4th floor areas.    Much of the work is done on the weekends.  Update electrical as well.

- 2033 renovation is going well.

- Abatement on 3rd and 4th floors.  The ceilings are being abated.

- Natalie stated that the agenda that was passed around will keep everyone on track.  Will still have discussions around the table.  Will send out e mail before the next meeting for any items to be added to the agenda.

Kim Bryner:  (HSC Safety)

- Monthly training sheets are due next Monday.

Frank Ali:  (OLAR)

- Asked how long training sheets should be kept and who should be kept on the list.

- Natalie stated that training records are kept for 30 years.

- Kim said to continue to keep all employees on list so that we know they did their training even if they are no longer employed at WVU.

- High containment area – trying to work with everyone in building.  There is a problem with the smell from the autoclave.  There are odors in the freight elevator and stairwell.  Trying to figure out how to resolve the situation.

Ali Elliott:  (EHS)

- Update on High Containment – First project will be at the end of the month.  There was a recent tour of the high containment facilities.

- Bids are currently in for biosafety hoods/cabinets.  Will know soon who received the contract.

Kristen Daft:  (Radiation Safety)

- A letter was recently sent out regarding disposal of materials.  There was a no cost disposal fee for products in laboratories or offices if disposed of within a month period.

- Kristen will email information to our office.

Chris Harp:  (Safety)

Decon procedures for disposing of equipment.

Beth O’Neil: (Pathology)

- Infrastructure project currently taking place.

- Asked above glove ban and alternatives that can be used.

Kevin Engels: (Phys and Pharm)

- Discussed shop inspections.

- Department is ready to do asset management.

- Discussed refrigerators that can’t be fixed.  Facilities will take it and dispose of it.

Lana Bunner: (Ruby Safety)

- Wanted to thank everyone at EH&S and Safety Office for all the assistance she has received.

- Had questions about Ruby employees taking their training on SOLE.  Also, if they could take the in-person training.  Ruby employees can take their training on SOLE and take the in-person training as well

Frank Ali:  (OLAR)

- Currently have 15 cylinders of Air Gas in OLAR.  They are in the market for a better company at HSC.  OLAR may switch from Air Gas to another company.  Trying to look into a new contract.

Meeting was concluded at 2:15PM.  The next meeting will be Thursday, March 23, 2017.  A reminder will be sent out.